## Slide 1
Investigations of extensive air showers in the Experimental complex NEVOD
The 5ᵗ ͪ International Symposium on Cosmic Rays and Astrophysics
June 25, 2025
E.A. Yuzhakova, M.B. Amelchakov, A.G. Bogdanov, A. Chiavassa, S.S. Khokhlov, E.P. Khomchuk, A.Yu. Konovalova, K.R. Nugaeva, I.A. Shulzhenko, S.Yu. Zhezhera

## Slide 2
Arrays for EAS detection
2
NEVOD-EAS: 9 clusters, 36 detector stations, area of 104 m2
URAN: 6 clusters, 72 en-detectors, area of 103 m2

## Slide 3
Detecting elements
Plastic scintillator NE102A
3
NEVOD-EAS
URAN
Scintillator ZnS(Ag) + B2O3
Electron-photon component of showers
Hadronic + charged components
10В + n → 7Li* +  + 2.31 MeV (94%)
7Li* → 7Li +  + 482 keV

## Slide 4
Calibration
NEVOD-EAS (CORSIKA + Geant4):
The muon peak in the experiment (13 pC) corresponds to Epeak = 8.15 MeV
4
Distribution by the energy deposit of single particles in the scintillator
URAN (joint events with the NEVOD-EAS):
Calibration dependence for each detector
# 16 – Svetlana Zhezhera

## Slide 5
Simulation
5
CORSIKA (QGSJET-II-04 + FLUKA 2020.0.3); p, Fe : E =1014 – 1017 eV, (γ + 1) = 2.7 (3 million events).
Axis reconstruction accuracy
∆R (p) ⁓ 2.2 m
∆R (Fe) ⁓ 2.6 m
For lgNe(sim.) = 5±0.1:
Size reconstruction accuracy
For lgNe(sim.) = 5±0.1 :
∆Ne (p) ⁓ 0.05
∆Ne (Fe) ⁓ 0.06
Direction reconstruction accuracy: p ~ 2.6°, Fe ~ 2.2°

## Slide 6
Average LDF
6
LDF of the electron-photon component
NEVOD-EAS
LDF of thermal neutrons
URAN
r0 ⁓ 10.0 ± 0.4 m

## Slide 7
Calibration Telescopes System
Coordinate detector DECOR
Calibration Telescopes System
7
80 scintillation blocks:
40  20  2 cm3
Cherenkov water detector NEVOD

## Slide 8
LDF of muons
Correlation of the number of muons passed through the detectors of the CTS bottom plane and the number of triggered detectors of the bottom plane
8
Muon LDF according to the CTS data
preliminary

## Slide 9
Shower size spectrum
NEVOD-EAS
lgNek = 5.65
∆k = 0.33
9
EAS-TOP
(M. Aglietta, 1999):
lgNek = 5.63 ± 0.07
∆k = 0.25 ± 0.07
KASCADE
(K.-H. Kampert, 1998):
lgNek = 5.70 ± 0.07
MAKET-ANI
(A.Chilingarian, 2007):
lgNek = 5.84 ± 0.07
∆k = 0.48 ± 0.04

## Slide 10
Shower size spectrum
10
The position of the knee is changing :
from Ne (35°÷37°) = 2.2×105 to Ne (0°÷18°) = 4.5×105.
A. Chilingarian et al. Astroparticle Physics 28 (2007) 58–71.

## Slide 11
Preliminary energy spectrum according to the NEVOD-EAS array data
11
The range of approximation:
Before the knee
E0 = (0.89÷2.20)×1015 eV
After the knee
E0 = (0.28÷1.80)×1016 eV
The knee position:
E0 = 2.8×1015 eV, ∆γ =0.39
Calculations are performed under the assumption of the proton composition of cosmic rays

## Slide 12
The NEVOD-EAS array allow reconstruction of the shower parameters with accuracy of 2.6° for the direction, 2.2 m for the axis and 0.05 for the size.
According to the NEVOD-EAS data, the knee in the energy spectrum is (preliminary) observed in the region of E0= 2.8 × 1015 eV. The spectrum slope changes by 0.39.
The NEVOD-EAS array allows cross-calibration of other installations detecting different EAS components.
Our arrays allow analyzing three EAS components at once.
Conclusions
12

## Slide 13
Thanks for your attention!

## Slide 14
Selection conditions for the NEVOD-EAS array
Maximum energy deposit in the central detector stations;
≥ 5 clusters triggered simultaneously;
Total energy deposit > 1 GeV;
Zenith angle < 18°.
5
Coordinates of the NEVOD-EAS detector stations
Y, m
X, m
Detector stations
central
peripheral

## Slide 15
Thermal neutrons in EAS
11
Dependence of the number of hadrons on the shower size
α = 0.89 ± 0.09
α = 0.85 ± 0.02